## Template
Energy Generation
| Efficiency | Cost | Energy Generation (W) | Ease of Incorportion | Final Weight
Weight | 2 | 4 | 5 | 3
Thermoelectric Generator | 1 | 2 | 1 | 5 | 30
Organic Rankine | 2 | 5 | 5 | 1 | 52
Point Absorbers | 5 | 3 | 4 | 4 | 54
Overflow Turbine Generator | 3 | 1 | 3 | 2 | 31
Oscillating Wave Converter | 4 | 4 | 2 | 3 | 43
TEG | max efficiency on 7.5% |  | avg efficiency of 3%
max electrical power of 21W at 270C delta T
For our application, delta T is too small for any large scale energy generation. A TEG could be used as a secondary energy source to power sensors which require milliwatts worth of energy, not kilowatts
Point Absorbers | energy gen 31.24 kWh/day
can easily be merged
efficiency of 28.4-50%